SPECIFICATION INSERTS AND COMMENTARY

FOR PROJECTS SPECIFYING

FOR PRECAST CONCRETE DETENTION CELL MODULES

This document is intended to assist designers, contractors and owners in preparing specifications for projects incorporating the Thermomass Building Insulation System in precast concrete detention cell modules. This document was prepared by the developer, manufacturer and supplier of the system, Thermomass, Boone, Iowa (1-800-232-1748).

The specification writer should consider the inserts below, individually, as additions or revisions to a master specification for precast concrete detention cell modules. The text herein is generally presented according to the Masterformat™ 2004 Edition Numbers & Titles recommended by the Construction Specifications Institute (CSI)

The paragraph and subparagraph identification letters and numbers herein are presented consecutively and are arbitrary. The specifier should insert text at appropriate locations in the master specification and consecutively re-letter and re-number the paragraphs and subparagraphs accordingly.

Text appearing in italics is commentary for the specification writers’ careful consideration and should not be included in the project specifications as written. Many of the comments are based on experience with thousands of Thermomass projects since 1980.  Some commentary and suggestions do not necessarily relate directly to the insulation components, but rather to the construction practices for concrete sandwich wall systems. Although Thermomass provides this information in an effort to improve the overall quality of the completed modules, Thermomass makes no warranties or claims for the specific recommendations.

Commentary containing the words “No inserts or commentary” indicate that additional text is not required to further specify or identify the Thermomass Building Insulation System in that article or section.

The text appearing as <SPECIFIER> indicates that the specifier must supply data.  This document is also available on disk. Additional specifications are available for plant-cast precast, cast-in-place, and tilt-up construction methods.  Call Thermomass at 1-800-232-1748 if you desire a copy.

PART 1 GENERAL

  - RELATED DOCUMENTS

No inserts or commentary.

1.02	RELATED SECTIONS

No inserts or commentary.

1.03	DEFINITIONS

###### Structurally Composite Wythe Connectors:  Structurally composite wythe connectors designed to transfer high shear forces that are generated due to longitudinal bending from one concrete wythe to the other, thus providing composite action.  Composite action is achieved by transferring forces from one wythe to the other by using wythe tie connectors.  The wythe tie should be solely responsible for transferring forces.

###### Structurally Non-Composite Wythe Connectors:  Structurally non-composite wythe connectors have sufficient shear capacity to transfer the dead load of a typical fascia wythe.  They are not capable of transferring shear forces due to the longitudinal bending of the panel.  Typically, a non-composite wythe connector is flexible and will bend due to temperature induced forces.

1.04	REFERENCES

###### BSR/ASHRAE/IESNA 90.1

- ASHRAE Handbook of Fundamentals

###### Energy Policy Act of 2005

###### ACI 318 Building Code Requirements for Structural Concrete

###### ICC-ES Acceptance Criteria 320

###### ASTM C 581

###### ASTM D 3039

1.05	SUBMITTALS

- Quality Assurance Submittals:

    - Test Reports:

- All reports and tests in accordance with ICC-ES Acceptance Criteria 320.

    - Manufacturer’s installation instruction.

- Thermal calculations: Provide calculations complying with ASHRAE/IES Standard 90.1 and confirming the effective thermal resistance for the concrete sandwich wall system.

- Isothermal Planes (Series Parallel Path) Analysis:

    - To be in compliance with this standard, all wall assemblies must be calculated as provided for in the ASHRAE Handbook of Fundamentals

- Building Envelope Performance Study:

    - ASHRAE//IESNA STANDARD 90.1- SYSTEM PERFORMANCE CRITERIA:  R-value performance and the heating and cooling load adjustments for the effects of concrete mass within the building envelope.

- Dew point calculations:  Provide calculations complying with the ASHRAE Handbook of Fundamentals – Theory of Water Vapor Migration and confirming the requirements for effective moisture condensation prevention.  The construction of the wall panel and the building envelope must include adequate design to prevent the formation of condensate on any panel surface and must maintain inner-wall condensation potential below <SPECIFIER> oz./day/sq. ft based on local environmental design extremes.

ASHRAE/IES Standard 90.1 requires that thermal performance be established using the isothermal planes analysis method.  This standard is now incorporated by reference in model energy codes. Calculations must include the effects of any thermal bridges that penetrate the insulation, including concrete or metal connections.

Thermal bridges significantly compromise the thermal performance of insulated concrete sandwich wall panels.  Envelope performance must account for varying insulation positions when it’s not placed on the same side of an envelope construction.  Standard 90.1 requires that, in addition to analysis of penetrations through insulation, analysis of thermal bridges created by the construction process is considered.

For example, walls may be designed with insulation at the top of the wall.  Others are designed with insulation located outside the wall for the first twelve feet and inside the wall for the remaining height up to the roof system.  These designs create a thermal bridge (the wall) at the point where the two systems cross or the top insulation ends without physical intersection with an adjacent insulation system.  The specifier should identify the acceptable R-value for the panels.  Thermomass can provide thermal calculations of the wall systems based on satisfying the code at no cost.

- Crack mitigation: Provide details that indicate how panel wall bowing and concrete cracking will be mitigated if the concrete sandwich wall panels do not include full-thickness concrete sections or metallic connectors between the concrete wythes (surfaces).

Full-thickness concrete sections and metallic connectors can have serious detrimental effects on the performance of sandwich panels. Thermomass strongly discourages the design or use of full-thickness concrete sections and/or metallic connectors at any location in the panels.

If a modular precast manufacturer opts to use full-thickness concrete or metallic connections, consideration must be given to the effects those connections have on the panels and surrounding materials in the project. These negative effects can include concrete panel cracking and bowing induced by the constraint of the outer (thinner) wythe movement relative to the structural wythe.  Also, full-thickness concrete sections will allow condensation to form at the breaks in the insulation system, resulting in heating and cooling loss, moisture migration, inconsistent face appearance, coating failures on painted panels, and growth of mold and mildew.

- Fire resistance:  Provide calculations showing compliance with a minimum fire resistance of <SPECIFIER> hours.

1.06	QUALITY ASSURANCE

- Insulation System Manufacturer’s Responsibility:

    - Provide panel drawings and detailing for fabricated concrete wall insulation system.

    - Attend pre-construction meetings and initial wall panel insulation placement to instruct in the proper installation of the wall panel system.

    - Provide quality assurance instruction and equipment for evaluation of connector installation.

    - Provide traceable and verifiable quality assurance.

a.	Listing requirements vary with product; however, all require that the manufacturers established testing and evaluation procedures must be repeatable.

Thermomass connectors are evaluated for the following:

        - Material hardness per ASTM D 785

        - Material flexural capacity per ASTM D 790

PART 2	 PRODUCTS

  - CONCRETE MATERIALS

Division 3, Section 03 40 00, should provide reasonable minimum and maximum limits on concrete slump to ensure adequate concrete consolidation around the ends of the connectors for proper anchorage. The use of a super-plasticizer should be considered.  The specifier should also consider the maximum concrete aggregate size for thin wythes to ensure adequate consolidation around the connectors and reinforcing steel and to reduce honeycombing in the concrete wythes.

  - REINFORCING AND ACCESSORIES

Division 3, Section 03 15 00, should contain requirements for the materials used for the bar supports used to hold reinforcing steel or welded wire fabric away from the outside (finished) face of the exterior wythe.  This is necessary to minimize surface spalling and other imperfections that may occur if incompatible materials are used. The bar support material must have approximately the same coefficient of thermal expansion as hardened concrete.  The contractor should verify with the supplier of the bar supports that the selected product will not induce spalling and surface imperfections over time as a result of thermal movement, inadequate adhesion or migration of moisture.

Division 3, Section 03 22 00, should require the use of welded wire fabric sheets as opposed to “roll” stock welded wire fabric to ensure the proper placement and cover of the fabric in the wythes.

The section below is separated into three options for specifying the insulation and insulation system.  The first option uses a direct proprietary specification by proprietary name.  The second option uses a direct nonproprietary specification by material properties.  The third option uses an indirect nonproprietary specification by performance.  The Thermomass Building Insulation System includes both insulations, and very low thermal conductivity, non-corrosive, fiber-composite connectors, supplied as a “system”.

Option No. 1: Thermomass Building Insulation System

  - INSULATION SYSTEM

- The Thermomass Building Insulation System, as supplied by Thermomass, P.O. Box 950, Boone, Iowa 50036 (1-800-232-1748), consisting of both:

- Insulation

- Extruded Polystyrene Board Insulation:  Complying with ASTM C 578, Type IV; with regularly spaced holes identifying connector placement locations.

--or--

- Polyisocyanurate Board Insulation:  Complying with ASTM C 1289, Type I; with regularly spaced holes identifying connector placement locations.

- Structurally Non-Composite Wythe Tie Connectors

  - Non-conductive, non-corrosive, fiber-composite connectors having a minimum tensile strength of 120,000 psi minimum glass content of 76 percent by weight, and a coefficient of thermal expansion of

3.90 x10-6 in/in/°F, nominal.

END 2.03 for Option No. 1:  Thermomass Building Insulation System.

Option No. 2:  Thermomass Building Insulation System

  - INSULATION

- Rigid Insulation for Concrete Sandwich Panels:

- Provide extruded polystyrene rigid board insulation having the physical properties defined by ASTM C 578 for Type IV material with provisions as follows:

- Compressive resistance: 25 psi minimum at yield or at 10 percent deformation per ASTM D 1621.

- Water Absorption: 0.1 percent maximum by volume per ASTM C 272.

- ISR R-Value: 5.0°F•ft2•h/Btu per inch at 75° F minimum per ASTM C 518.  Warranted R-Value to retain minimum of 90 percent of its published R-value for 15 years.

- Manufactured with a blowing agent that provides at least a 90 percent reduction in potential for ozone depletion as compared to standard CFC blowing agents.

- Pre-installed, high-strength, polymer twist-lock retainers, designed to position the fiber composite connector within the pre-fabricated insulation sheets.  The retainers are factory set tightly against the surface of the insulation boards in a pre-engineered pattern to transfer lateral and gravity loads from the exterior layer to the structural layer.

The specifier should not allow fewer holes and connectors per panel than designed. The Thermomass system is pre-engineered to allow for the many variables inherent with concrete wall construction.

f.	Follow the manufacturer’s instructions on storing and handling the insulation:

1)	Store insulation system in original system manufacturer’s wrapping. Store in a secure dry area, covered with u.v. rated polyethylene or in a location protected from direct sunlight to prevent surface oxidation.  Protect insulation from wind damage.

2)	Protect insulation from open flame and heat sources greater than 165 °F.

3)	Avoid contact with petroleum-based solvents.

--or--

- Provide polyisocyanurate board insulation:  rigid, cellular polyisocyanurate thermal insulation with core formed by using hydrocarbons as blowing agents; square edged; complying with ASTM C 1289, Type I, with provisions as follows:

- Compressive resistance:  25 psi minimum at yield or at 10 percent deformation per ASTM D 1621.

- Water absorption: 0.02 percent maximum by weight

- Aged R-value:  6.5°F•ft2•h/Btu per inch at 75° F minimum per ASTM C 518/ C 236.  Maximum use temperature of 250°F.

- Polyisocyanurate insulation with an aluminum/polyester facer shall provide:

          - Water vapor permeance, ASTM E96, 1”, 0.01 perms, maximum.

          - Un-exposed metallic facing that is not susceptible to corrosion or chemical reaction with the concrete.

e.	Pre-installed, high-strength, polymer twist-lock retainers, designed to position the fiber composite connector within the pre-fabricated insulation sheets.  The retainers are factory set tightly against the surface of the insulation boards to transfer lateral and gravity loads from the exterior layer to the structural layer.

f.	Follow the manufacturer’s instructions on storing and handling the insulation:

1)	Store insulation system in original system manufacturer’s wrapping.  Store in a secure dry area, covered with u.v. rated polyethylene or in a location protected from direct sunlight to prevent surface oxidation.  Protect insulation from wind damage.

2)	Protect insulation from open flame and heat sources greater than 195 °F.

3)	Avoid contact with petroleum-based solvents.

Extruded polystyrene insulation has a higher R-value and is more vapor and water-resistant than other rigid insulation products such as expanded polystyrene (bead-board) insulation.  Un-faced polyisocyanurate and polyurethane insulation are not acceptable replacements for extruded polystyrene in general applications.  However, polyisocyanurate insulation with triplex aluminum/poly facer as we supply is moisture resistant and offers high thermal performance.

Expanded polystyrene insulation is subject to variances in density and product quality.  The product is generally cut from a billet.  Depending upon where the specific sheets originate in a billet, the density of the board may vary from 1.0 to 2.5 pounds per cubic foot (pcf).  In addition, moisture can be entrapped in large voids between polystyrene beads, contributing to higher thermal conductivity and possible damage to the integrity of the sandwich wall.

2.04	CONNECTORS FOR CONCRETE SANDWICH WALL PANELS

A.	Provide fiber composite connectors having the following physical properties and attributes:

- Non-conductive, non-corrosive, fiber-composite connectors having a minimum tensile strength of 120,000 psi, minimum glass fiber content of 76% (by weight), in a thermoset vinyl-ester resin matrix.

The vinyl-ester resin matrix impregnates the fiber strands, creating a composite material that has been tested and shown to be resistant to chemical attack.

- Upon request, connector supplier shall provide documentation of alkali resistance of connector and long-term shear capacity of connector.

- Coefficient of thermal expansion: 3.90 x 10-6 in/in/°F, nominal.

The coefficient of thermal expansion of the Thermomass connectors is very near that of hardened concrete.  The Thermomass connector is the only connector on the market that achieves this.  It is imperative that the connectors expand and contract similarly with the concrete during temperature changes to significantly reduce the likelihood of concrete cracking or spalling.

- Thermal Conductivity: 6.9 Btu/ (°F•ft2•h) per inch of length.

The fiber-composite connectors are the only elements penetrating or crossing the insulation in the panels.  They perform as insulators. The low conductivity of the connectors is vital to retaining over 90% of the insulation’s R-value.  Thermal testing has been performed at Construction Technology Laboratories and at the Oak Ridge National Laboratory, United States Department of Energy, to determine the effectiveness of the fiber-composite connectors in the elimination of loss of R-value in a sandwich wall construction.  Contact Thermomass for more information on these test programs.

- The wythe ties comprise of a fiber-composite connector with a polymer wing that controls the position of the connector within the twist-lock retainer and provides leverage during connector installation   The pre-installed twist-lock retainers provide a friction fit with the pre-formed holes in the insulation eliminating concrete flow-through while the buttons structurally support the insulation at the designed location in the forms.

The fiber-composite connectors of the Thermomass system create a superior seal at the interface between the inside of the pre-formed holes in the insulation and the multiple circumferential ribs on the connectors’ sealing collars.  This feature, combined with the significant resistance to vapor transmission and water absorption provided by the extruded polystyrene insulation, provides a barrier system without equal in concrete sandwich wall construction.

- Proven accelerated aging testing.  Provide reports showing compliance with ASTM C 581

- Proven fire resistance testing.  Provide reports or analysis showing compliance with a minimum fire resistance of <SPECIFIER> hours.

Thermomass and Underwriters Laboratories subjected a Thermomass wall panel to 2000 °F for four hours, as outlined in ANSI/UL, Procedure 263. No degradation of the connectors occurred. The temperature on the back of the wall rose only 36.4 °F, whereas the standard for “passing” for a four-hour test was 250 °F.

END of Option No. 2:  Thermomass Building Insulation System

Option No. 3:  Thermomass Building Insulation System

  - INSULATION SYSTEM

- The insulated concrete sandwich panels must be constructed to maintain the effective acceptable material R- <SPECIFIER> of the panels with less than three (3) percent reduction due to penetrations and connection detailing. The reduction in thermal performance must be calculated using the Isothermal planes method of R-value calculation.

- The insulated concrete sandwich panels must be adequately designed and constructed to prevent the growth of mold and mildew and the formation of frost or ice on any panel surface and must maintain inner-wall condensation potential below <SPECIFIER> oz/day/sq.ft based on summer design extremes.  Provide calculations complying with the ASHRAE Handbook of Fundamentals – Theory of Water Vapor Migration and confirming the requirements for effective moisture/condensation prevention.

As identified above, the contractor must provide calculations to verify the performance of the sandwich wall panels. The specifier should identify the “acceptable” R-value for the panels. Thermomass can provide International Energy Conservation Code compliant calculations to satisfy this requirement at no cost.

END of Option No. 3:  Thermomass Building Insulation System

##### PART 3 EXECUTION

  - DESIGN

Full-thickness concrete sections and metallic connectors can have serious detrimental effects on the performance of sandwich panels. Thermomass strongly discourages the design or use of full-thickness concrete sections and/or metallic connectors at any location in the panels. If a poured wall manufacturer opts to use full-thickness concrete or metallic connections, consideration must be given to their effects on the panels and surrounding materials in the project. These negative effects can include concrete panel cracking and bowing induced by the constraint of the fascia (thinner) wythe relative to the structural wythe.  Also, full-thickness concrete sections will allow condensation to form at the breaks in the insulation system, resulting in heating and cooling loss, moisture migration, inconsistent face appearance, coating failures on painted panels, and growth of mold and mildew.

  - FABRICATION

- Precast Modules with Exterior Sandwich Walls:

  - Prepare precast module form molds.

a. 	Clear mold of miscellaneous debris and concrete slag.

b. 	Attach continuous steel chamfer strips at the bottom and sides of molds where insulation boards are required.  Provide strips at both faces of insulation boards.

  - Pre-cut insulation for required geometry including openings, providing continuous insulation throughout the exterior wall.

Maintain the following tolerances:

    - ¼” at all window and door openings.

    - ¼” at all module edges

  - Size fiber-composite connectors to extend from the interior mold wall to the exterior mold wall within a tolerance of 1/8” on each side.  On module designs incorporating a form liner at the surface of an exterior wythe, size connectors to extend within 1/8” of the deepest penetration of the form liner surface.

  - Size connectors to avoid chamfer strips and reveals in the exterior fascia wythe of concrete.

  - Locate connectors away from areas where form surfaces are not available at each end of the connector.

The Thermomass Building System is designed to cover the entire area of all wall panels.  Thermomass does not recommend that any full-wall thickness concrete sections be used.  It is essential that plant personnel are made aware of the requirements for the system and that the installation complies with these requirements.

SAFETY CAUTION - Since fiberglass fibers may be present on the surfaces of the Thermomass connectors, it is recommended that gloves be worn during handling and that eye contact with gloves or hands be avoided.

  - Assemble insulation system.

    - Place insulation board sub-assemblies for each module in the designed order.

The insulation for the exterior walls of the modules is shipped in wall sub-assemblies that are two insulation sheets wide by the height of the designed module.  These sub-assemblies are taped to secure them during shipping and construction.  For most module designs, multiple sub-assemblies will be required to span the full width of the exterior wall. Thermomass provides drawings showing the locations and positioning of the specific sub-assemblies.  To ensure the integrity of the system, the joints between sub-assemblies should be taped.

    - Butt adjacent sub-assemblies together and secure the joints with four (4) inch wide bi-directionally reinforced acrylic tape.

    - Insert the connector in the rectangular hole in the twist-lock assembly.

    - Push the connector through the thickness of the insulation until the wing comes to rest against the face of the twist-lock assembly.

    - Using the wing for leverage, use the thumb and index finger to twist the connector in the directions indicated by the arrows on the face of the twist-lock assembly.  Note that the connectors will rotate 90 degrees until internal detent in the retainer stops the rotation.

    - Continue this process for all of the connectors for a panel, until all pre-formed insulation holes have a complete connector assembly.

    - Ensure that insulation pieces have a minimum of two vertical rows of connectors (to prevent twisting during concrete placement.)  Stagger rows in pieces of insulation narrower than twelve (12) inches.

    - Secure the exterior fascia wythe reinforcement to the connectors on the exterior side of the insulation, where appropriate.

    - Carefully close the form molds until the designed concrete thickness is achieved.

    - Provide bulkheads or top-of-form ties to prevent the insulation from floating during concrete placement.

    - Place concrete throughout the module using the following procedure:

    - Begin pouring at one corner of the exterior insulated wall, following the wall to an adjacent exterior corner.  Distribute concrete evenly on each side of the insulation or slightly higher in the exterior fascia wythe.

Successful pouring occurs most often when the following pouring guidelines are maintained: In each wall, begin filling the form mold in 2 ft. to 3 ft. lifts, alternating concrete placement on each side of the insulation.  Be cautious to keep the unhardened concrete heights on each side of the insulation approximately equal, not to exceed 24-inches of height difference.  Concrete may be carefully placed directly on the insulation allowing the insulation sheets to approximately evenly divide the concrete into the two concrete wythes. Care must be taken to not damage the insulation.

    - Next, place concrete in the interior walls, outwardly from the exterior insulated wall, toward the module front wall. Note: If a side wall is also an exterior insulated wall, this wall should be poured second and should be poured according to the same process beginning with a) above.

    - Finally, pour across the front wall of the module including any mechanical chases.

    - Continue this process in subsequent lifts until the mold is full.

The Thermomass Building Insulation System is designed to cover the entire area of all wall panels. Thermomass does not recommend that any full-wall thickness concrete sections be used.  It is essential that personnel are made aware of the requirements for the system and that the installation complies with these requirements.  Contact Thermomass for full installation instructions.

SAFETY CAUTION - Since fiberglass fibers may be present on the surfaces of the Thermomass connectors, it is recommended that gloves be worn during handling and that eye contact with gloves or hands be avoided.

  - DELIVERY, HANDLING, AND STORAGE

    - Clean all module edges free of concrete slurry that may bridge thermal energy across the insulation.  Place modules on intended shipping platform with appropriate dunnage supporting the module structure.  Ensure that dunnage is not placed under the fascia wythe.

The specifier should consult the PCI Design Manual as well as the supplying producer to determine the specifications for this section.  The types of precast element, transportation requirements and construction conditions will affect the requirements for delivery, storage and handling. Placement of dunnage under the fascia wythe can create sufficient stresses during transportation to cause aesthetically objectionable cracking.

Section 03 10 00 must make reference to ASTM C 309 for release agent requirements.  Improper selection or use of an agent may allow the lower wythe to bond with the concrete floor slab or casting surface below, resulting in the lower wythe delaminating during the panel lift.  Most release agents should be applied at least 24 hours before the concrete is placed.  Ensure that the agent is compatible with the specified coatings to be applied to the concrete floors and wall panel surfaces.

Contact Thermomass for full installation instructions.

3.04 	ERECTION

  - Module Base Connection:

    - Modules should be erected to their final locations and placed on shim spacers and grout packs located under the structural wythes only.

  - Module Joint Preparation:

    - At all vertical joints between modules, position backer rods to the depth of the inside face of the insulation.

    - From the exterior of the building, inject an expandable polyurethane insulation, filling the joints from the backer rod position outward to the exterior face of the module insulation.

    - Install foam backer rod and approved caulking on both the interior and exterior of each panel joint.

### END

Thermomass believes the information and recommendations herein to be accurate and reliable. However, since use conditions are not within its control, Thermomass does not guarantee results from use of such products or other information herein and disclaims all liability for any resulting damage or loss. Thermomass is not responsible for the problems or damages caused by deficiencies in building design, failure during construction to install its products in accordance with approved methods, or the use of products in its system that do not allow for proper management of moisture within the wall system.  No warranty, expressed or implied, is given as to the merchantability, fitness for particular purposes, or otherwise with respect to the product referred to. The information presented is based on the most recent, appropriate, industry standards and methods. All information must be confirmed by the qualified designers, specifiers, suppliers and contractors retained by the owner.