SPECIFICATION INSERTS AND COMMENTARY

FOR PROJECTS SPECIFYING

FOR FREEZER STRUCTURALLY NON-COMPOSITE PLANT PRECAST

This document is intended to assist designers, contractors and owners prepare specifications for projects incorporating the Thermomass Building Insulation System in plant-precast insulated concrete sandwich wall panels. This document was prepared by the developer, manufacturer and supplier of the system, Thermomass, Boone, Iowa (1-800-232-1748).

The specification writer should consider the inserts below, individually, as additions or revisions to a master specification for a freezer, plant-precast concrete sandwich wall panels. The text herein is generally presented according to the Masterformat™ 2004 Edition Number & Titles recommended by the Construction Specifications Institute (CSI).

The paragraph and subparagraph identification letters and numbers herein are presented consecutively and are arbitrary. The specifier should insert text at appropriate locations in the master specification and consecutively re-letter and re-number the paragraphs and subparagraphs accordingly.

Text appearing in italics is commentary for the specification writers’ careful consideration and should not be included in the project specifications as written. Many of the comments are based on Thermomass’s experience with thousands of Thermomass projects since 1980. Some commentary and suggestions do not necessarily relate directly to the insulation components, but rather to the construction practices for concrete sandwich wall systems. Although Thermomass provides this information in an effort to improve the overall quality of the completed wall panels, Thermomass makes no warranties or claims for the specific recommendations.

Commentary containing the words “No inserts or commentary” indicate that additional text is not required to further specify or identify the Thermomass Building Insulation System in that article or section.

The text appearing as <SPECIFIER>or between “< >” indicates that the specifier must supply data or make a selection.  This document is also available on disk. Additional specifications are available for tilt-up (site cast precast), poured-in-place, and modular precast construction methods.  Call Thermomass at 1-800-232-1748 if you desire a copy.

PART 1 - GENERAL

  - RELATED DOCUMENTS

No inserts or commentary.

1.02	RELATED SECTIONS

###### Related sections include the following:

1.  Division 03 Section “Precast Structural Concrete”

2.	Division 03 Section “Precast Architectural Concrete”

1.03	DEFINITIONS

###### Structurally Composite Wythe Connectors:  Structurally composite wythe connectors designed to transfer high shear forces that are generated due to longitudinal bending from one concrete wythe to the other, thus providing composite action.  Composite action is achieved by transferring forces from one wythe to the other by using wythe tie connectors.  The wythe tie should be solely responsible for transferring forces.

###### Structurally Non-Composite Wythe Connectors:  Structurally non-composite wythe connectors have sufficient shear capacity to transfer the dead load of a typical fascia wythe.  They are not capable of transferring shear forces due to the longitudinal bending of the panel.  Typically, a non-composite wythe connector is flexible and will bend due to temperature induced forces.

1.04	SUMMARY

###### This section includes the following insulated wall panels:

1.	Architectural precast, < Structurally non-composite> load bearing units.

2.	Architectural precast, <Structurally non-composite> cladding units.

3.	Structural precast, <Structurally non-composite> load bearing units.

4.	Structural precast <Structurally non-composite> cladding units.

  - REFERENCES

###### BSR/ASHRAE/IESNA 90.1-1989

- ASHRAE Handbook of Fundamentals 1997

###### 1994 Energy Policy Act of 1992

###### D.   ACI 318 Building Code Requirements for Structural Concrete

###### E     ICC-ES Acceptance Criteria 320

###### F    ASTM C 581

G   ASTM C 309

1.06	SUBMITTALS

- Quality Assurance Submittals:

1.	Certificates:

a.	ICC-ES Evaluation Service Report.

2.	Test Reports:

a.	All reports and tests in accordance with ICC-ES Acceptance Criteria 320.

3.	Manufacturer’s installation instructions.

- Thermal calculations:  Provide calculations complying with ASHRAE/IESNA Standard 90.1 and confirming the effective thermal resistance for the concrete sandwich wall system.

  - Isothermal Planes (Series Parallel Path) Analysis:

    - To be in compliance with this standard, all wall assemblies must be calculated as provided for in The ASHRAE Handbook - 1985 Fundamentals - Chapter 23

  - Building Envelope Performance Study:

    - ASHRAE/IESNA STANDARD 90.1-1989 - SYSTEM PERFORMANCE CRITERIA:  R-value Performance and the Heating and Cooling Load Adjustments for the Effects of Concrete Mass Within the Building Envelope.

- Dew point calculations: Provide calculations complying with the ASHRAE Handbook of Fundamentals – Theory of Water Vapor Migration and confirming the requirements for effective moisture condensation prevention.  The construction of the wall panel and the building envelope must include adequate design to prevent the formation of frost or ice on any panel surface and must maintain inner-wall condensation potential below <SPECIFIER> oz./day/sq. ft based on local environmental design extremes.

The building envelope requirements for a freezer facility mandate that thermal bridging and the formation of moisture and condensation on panel surfaces is eliminated.  ASHRAE/IES Standard 90.1 requires that thermal performance be established using the isothermal planes analysis method.  This standard is now incorporated by reference in model energy codes. Calculations must include the effects of any thermal bridges that penetrate the insulation, including concrete or metal connections.

Thermal bridges significantly compromise the thermal performance of freezer building envelopes. The presence of these penetrations can lead to inefficient facility operation, unstable temperature management and the formation of frost and ice dams at the penetration’s location. Air movement due to leaks in the insulation and vapor retarder system is unacceptable in a freezer building envelope as it provides paths by which moisture can migrate through the envelope as well as providing rapid thermal gradients at those locations.  The result of these occurrences is the development of ice or frost, both detriments to the operation and use of the freezer facility.

The specifier should identify the temperature/humidity conditions to be maintained.  Envelope performance must account for varying insulation locations when not on the same side of an envelope construction.  Standard 90.1 requires that in addition to analysis of penetrations through insulation, analysis of thermal bridges created by the construction proper is considered.

For example, walls may be designed with insulation at the top of the wall.  Others are designed with insulation located outside the wall for the first twelve feet and inside the wall for the remaining height up to the roof system.  These designs create a thermal bridge (the wall) at the point where the two systems cross or the top insulation ends without physical intersection with an adjacent insulation system.  The specifier should identify the acceptable R-value for the panels.  Thermomass can provide thermal calculations of the wall systems based on satisfying the MEC/IECC at no cost.

- Thermal bowing and crack mitigation:  Provide details that indicate how panel wall bowing and concrete cracking will be mitigated if the concrete sandwich wall panels are to include full-thickness concrete sections or metallic connectors between the concrete wythes (surfaces).

Full-thickness concrete sections and metallic connectors can have serious detrimental effects on the performance of sandwich panels.  Thermomass strongly discourages the design or use of full-thickness concrete sections and/or metallic connectors at any location in the panels.

If a panel manufacturer opts to use full-thickness concrete or metallic connections, consideration must be given to the effects those connections have on the panels and surrounding materials in the project.  These negative effects can include concrete panel cracking and bowing induced by the constraint of the outer (thinner) wythe movement relative to the structural wythe.  Also, full-thickness concrete sections will allow condensation or frost to form at the breaks in the insulation system, resulting in heating and cooling loss, moisture migration, inconsistent face appearance, coating failures on painted panels, and growth of mold and mildew.

- Fire resistance:  Provide reports or analysis showing compliance with a minimum fire resistance of <SPECIFIER> hours.

1.07	QUALITY ASSURANCE

- Certifications:  Unless otherwise authorized by the Engineer, anchors shall have the following certifications:

- ICC-ES Evaluation Service Report based on data submitted in accordance with ICC-ES Acceptance Criteria 320 indicating compliance with the applicable building code.

- Insulation Manufacturer’s Responsibility

    - Provide shop drawings and detailing for concrete wall insulation system.

    - Attend pre-construction meetings and initial wall panel insulation placement to instruct in the proper installation of the wall panel system.

    - Provide quality assurance instruction and equipment for evaluation of connector installation.

    - Provide traceable and verifiable quality assurance by a recognized third-party testing agency.

      - Listing requirements vary with product; however, all require that the manufacturers established testing and evaluation procedures must be repeatable and open to third party review and verification. Thermomass connectors are evaluated for the following:

        - Material hardness per ASTM D 785

        - Material flexural capacity per ASTM D 790

The NES and ICC ES/IAS recognize SwRI as a testing laboratory and quality assurance/inspection agency.

Third party suppliers can provide additional services to monitor the pull-down of the facility with thermographic or infrared photography.  Potential problem locations may be located during the process.

PART 2 - PRODUCTS

  - CONCRETE MATERIALS

Division 3, Section 03 40 00, should provide reasonable minimum and maximum limits on concrete slump to ensure adequate concrete consolidation around the ends of the connectors for proper anchorage. The use of a super-plasticizer should be considered.  The specifier should also consider the maximum concrete aggregate size for thin wythes to ensure adequate consolidation around the connectors and reinforcing steel and to reduce honeycombing in the concrete wythes.

  - REINFORCING AND ACCESSORIES

- Connections Inserts:

- Foundation connections that penetrate the insulation envelope shall be fabricated using austenitic stainless steel.

  - Acceptable stainless-steel types:  AISI Grade 304, 304L, 316 or 316L.

  - All embedded connections shall be fabricated using stainless steel studs or anchors compatible with the acceptable steel types.  Mechanical and weld properties shall be as follows:

    - Steel Type:	304L or 316L

    - Yield Strength:  304L:39,000psi; 316L:42,00psi

    - Tensile Strength:  80,000psi min.

    - Reduction in Area:	50%min.

    - Flux:  Solid Fluxed

    - Acceptable Manufacturers:

      - Cox Industries, Chesterfield, MO

      - Approved equal

  - Welded connections between stainless steel shapes shall be made using compatible welding tool.

Because its’ thermal conductivity is half that of carbon steel, stainless steel is indicated where connections penetrate the insulation envelope.  The specifier should consult suppliers to determine if alternate materials are available.

When using stainless steel shapes, all members shall be made from a steel grade with extra-low carbon to allow field welding without developing inter-granular corrosion.  Connections contained within the insulation envelope can be fabricated using standard structural sections and common connection practices.

The designer may wish to recess all surface-located connections to provide a consistent surface finish for appropriate USDA or FDA approved coating.  The designer may also wish to specify stainless steel connections.

Division 3, Section 03 20 00, should contain requirements for the materials used for the bar supports used to hold reinforcing steel or welded wire fabric away from the outside (finished) face of the exterior wythe.  This is necessary to minimize surface spalling and other imperfections that may occur if incompatible materials are used. The bar support material must have approximately the same coefficient of thermal expansion as hardened concrete.  The contractor should verify with the supplier of the bar supports that the selected product would not induce spalling and surface imperfections over time as a result of thermal movement, inadequate adhesion or migration of moisture.

Division 3, Section 03 22 00, should require the use of welded wire fabric sheets as opposed to roll stock welded wire fabric to ensure the proper placement and cover of the fabric in the wythes.

The section below is separated into three options for specifying the insulation and insulation system.  The first option uses a direct proprietary specification by proprietary name.  The second option uses an indirect proprietary specification by material properties.  The third option uses an indirect nonproprietary specification by performance.  The Thermomass Building Insulation System includes both insulation, and non-conductive, non-corrosive, fiber-composite connectors, supplied as a “system”.

Option No. 1: Thermomass Building Insulation System Specification

  - INSULATION SYSTEM

- The Thermomass Building System, as supplied by Thermomass, P.O. Box 950, Boone, Iowa 50010 (1-800-232-1748), consisting of both:

- Insulation

- Extruded Polystyrene Board Insulation:  Complying with ASTM C 578, Type IV; with regularly spaced holes identifying connector placement locations.

- Polyisocyanurate Board Insulation:  Complying with ASTM C 1289, Type I; with regularly spaced holes identifying connector placement locations.

- Structurally Non-Composite Wythe Connectors:

    - Non-conductive, non-corrosive, fiber-composite connectors, having a tensile strength of 120,000 psi, minimum glass content of 76 percent by weight, and a coefficient of thermal expansion of 3.90 x10-6in/in/°F, nominal.

    - ICC-ES Evaluation Service Report based on data submitted in accordance with ICC-ES Acceptance Criteria 320 indicating compliance with the applicable building code.

END 2.03 for Option No. 1: THERMOMASS® Building Insulation System.

Option No. 2: THERMOMASS® Building Insulation System Specification

  - INSULATION

- Rigid Insulation for Concrete Sandwich Panels:

- Provide extruded polystyrene rigid board insulation having the physical properties defined by ASTM C-578 for Type IV material with provisions as follows:

- Compressive resistance: 25 psi minimum at yield or at 10 percent deformation per ASTM D 1621.

- Water Absorption: 0.1 % maximum by volume per ASTM C 272.

- In Service R-Value: 5.0, 5.4 and 5.6°F•ft2•h/Btu per inch at 75°F, 40°F, and 0°F minimum per ASTM C 518.  Warranted R-Value to retain minimum of 90 percent of its published R-value for 15 years.

- Manufactured with a blowing agent that provides at least a 90 percent reduction in potential for ozone depletion as compared to standard CFC blowing agents.

- Supplied with holes to identify connector placements at designated spacing through insulation board surfaces. For plant applied holes (7/16” diameter), provide rows of holes no less than four (4) inches and no more than twelve (12) inches from the edges of panels, doors and other panel openings. Provide holes sized for close fit with connectors.

The specifier should not allow fewer holes and connectors per panel than designed. The Thermomass system is pre-engineered to allow for the many variables inherent with concrete wall construction. The contractor should not be allowed to push connectors through the insulation without a pre-formed hole, as this could push a plug of insulation into the plastic concrete below, resulting in loss of connector bond, damage to the exposed surface of the concrete and vapor leaks.

f.	Follow the manufacturer’s instructions on storing and handling the insulation:

1)	Store insulation system in original manufacturer’s wrapping.  Store in a secure dry area, covered with u.v. rated polyethylene or in a location protected from direct sunlight to prevent surface oxidation.  Protect insulation from wind damage.

2)	Protect insulation from open flame and heat sources greater than 165 °F.

3)	Avoid contact with petroleum-based solvents.

Extruded polystyrene insulation has a higher R-value and is more vapor and water-resistant than other rigid insulation products such as expanded polystyrene (bead-board) insulation.  Un-faced polyisocyanurate and polyurethane insulation are not acceptable replacements for extruded polystyrene in general applications.  Consult Thermomass for recommendations on suitable alternatives for rigid insulation products.

Expanded polystyrene insulation is subject to variances in density and product quality.  The product is generally cut from a billet.  Depending upon where the specific sheets originate in a billet, the density of the board may vary from 1.0 to 2.5 pounds per cubic foot (pcf).  In addition, moisture can be entrapped in large voids between polystyrene beads, contributing to higher thermal conductivity and possible damage to the integrity of the sandwich wall resulting from freeze/thaw cycling of moisture contained within the board insulation.

The specification insert above for rigid insulation was furnished to Thermomass by its supplier, The Dow Chemical Company, Midland, Michigan 48764 in 1997 and is subject to modifications. The specifier should consult the current, applicable version of this specification.

2.04	CONNECTORS FOR CONCRETE SANDWICH WALL PANELS

A.	Provide corrosion and alkali resistant fiber composite connectors having the following physical properties:

- Non-conductive, non-corrosive, fiber-composite connectors having a minimum tensile strength of 120,000 psi, minimum glass fiber content of 76% (by weight), in a thermoset vinyl-ester resin matrix.

- ICC-ES Evaluation Service Report based on data submitted in accordance with ICC-ES Acceptance Criteria 320 indicating compliance with the applicable building codes.

The vinyl-ester resin matrix impregnates the fiber strands, creating a composite material that has been tested and shown to be resistant to chemical attack.

- Upon request, connector supplier shall provide documentation of alkali resistance of connector and long-term shear capacity of connector.

- Coefficient of thermal expansion: 3.90 x 10-6 in/in/°F, nominal.

The coefficient of thermal expansion of the Thermomass connectors is very near that of hardened concrete.  The Thermomass connector is the only connector on the market that achieves this.  It is imperative that the connectors expand and contract similarly with the concrete during temperature changes to significantly reduce the likelihood of concrete cracking or spalling.

- Central body of connector shall be provided with flange to limit insertion depth into insulation.

- Central body of connector shall have serrated profile to provide interference fit with pre-formed holes in the insulation so as to prevent connector from backing out of insulation after installation

- Thermal Conductivity: 6.9 Btu/ (°F•ft2•h) per inch of length.

The fiber-composite connectors are the only elements penetrating or crossing the insulation in the panels.  They perform as insulators. The low conductivity of the connectors is vital to retaining over 90% of the insulation’s R-value.  Thermal testing has been performed at Construction Technology Laboratories and at the Oak Ridge National Laboratory, United States Department of Energy, to determine the effectiveness of the fiber-composite connectors in the elimination of loss of R-value in a sandwich wall construction.  Contact Composite Technologies for more information on these test programs.

- Thermoplastic molded sealing collar in the center section of the connectors to provide friction fit with the pre-formed holes in the insulation; and to provide a retention collar at the topside insulation face to assure proper depth of embedment.

The fiber-composite connectors of the Thermomass system create a superior seal at the interface between the inside of the pre-formed holes in the insulation and the multiple circumferential ribs on the connectors’ sealing collars.  This feature, combined with the significant resistance to vapor transmission and water absorption provided by the extruded polystyrene insulation, provides a barrier system without equal in concrete sandwich wall construction.

- Proven accelerated aging testing.  Provide reports showing compliance with ASTM C 581.

- Proven fire resistance testing.  Provide reports or analysis showing compliance with a minimum fire resistance of <SPECIFIER> hours.

Thermomass and Underwriters Laboratories subjected a Thermomass wall panel to 2,000 °F for four hours, as outlined in ANSI/UL, Procedure 263. No degradation of the connectors occurred. The temperature on the back of the wall rose only 36.4 °F, whereas the standard for “passing” for a four-hour test was 250 °F. CTC can provide calculations demonstrating code compliance through the PCI Design Handbook upon request for required fire endurance.

END 2.03 for Option No. 2: THERMOMASS® Building Insulation System.

Option No. 3: THERMOMASS® Building Insulation System Specification

  - INSULATION SYSTEM

- ICC-ES Evaluation Service Report based on data submitted in accordance with ICC-ES Acceptance Criteria 320 indicating compliance with the applicable building codes.

- The insulated concrete sandwich panels must be constructed to maintain the effective acceptable material R- <SPECIFIER> of the panels with less than one (1) percent reduction due to penetrations and connection detailing. The reduction in thermal performance must be calculated using the Isothermal planes method of R-value calculation.

- The insulated concrete sandwich panels must be adequately designed and constructed to prevent the growth of mold and mildew and the formation of frost or ice on any panel surface and must maintain inner-wall condensation potential below <SPECIFIER> oz/day/sq.ft based on summer design extremes.  Provide calculations complying with the ASHRAE Handbook of Fundamentals – Theory of Water Vapor Migration and confirming the requirements for effective moisture condensation prevention.

As identified above, the contractor must provide calculations to verify the performance of the sandwich wall panels. The specifier should identify the “acceptable” R-value for the panels. Thermomass can provide Model Energy Code compliant calculations to satisfy this requirement at no cost.

END 2.03 for Option No. 3:  Thermomass Building Insulation System.

  - CONTINUOUS VAPOR RETARDER (if required)

- Low-density polyethylene (LDPE) vapor retarder, 10-mil minimum, continuous throughout panel surface, unless otherwise specified.

- Install continuous vapor retarder a distance of 12 inches, minimum, beyond all panel edges.  Ensure that it is pulled tight and smooth across the surface of the face of the lower wythe, prior to installing the insulation.

- Limit penetrations through vapor retarder to fiber composite connectors or as otherwise specified.

- Low-density polyethylene vapor retarder shall maintain maximum moisture condensation potential within wall to <SPECIFIER>oz./day/sq/ft.

  - JOINT INSULATION

- All panel joints occurring within the insulation envelope of the building shall insulate with expandable polyurethane insulation.

- Material properties:

  - <SPECIFIER>

  - JOINT SEALANT

- All panel joints shall be sealed with a premium-grade, high-performance, moisture cured, polyurethane-based and non-sag elastomeric sealant.  Sealant must be paintable, and USDA approved.  Sealant can be either a 1-part or 2-part application.

- Acceptable Manufacturers:

  - Sika, 201 Polito Avenue, Lyndhurst, New Jersey 07071

  - Approved Equal

  - PANEL AND COLUMN BASE SUPPORTS

- All insulated concrete sandwich panels and interior structural columns shall transfer loads to the foundation systems through the floor insulation system with a non-conductive bearing product consisting of sufficient compressive strength to support the applied vertical loads over the designed area.

- Wall bearing on pier foundations and column bearing shall use a high-density polyurethane bearing pad having a factor of safety of 3:1 for the applied vertical loads.  The pads shall be located and conforming to sizes as shown on the insulation drawings.

  - Material Properties:

    - <SPECIFIER>

  - Acceptable Products:

    - High-density polyurethane

    - Rigid high-density extruded polystyrene

- Wall bearing on continuous footings or stem walls shall use intermittent shim stacks, polymeric bearing pads or high-density polyurethane-bearing pads with specified floor insulation placed between pads.

##### PART 3 - EXECUTION

  - DESIGN

The panel construction is an important consideration in freezer design.  Full-thickness concrete sections and metallic connectors can have serious detrimental effects on the performance of sandwich panels. Thermomass strongly discourages the design or use of full-thickness concrete sections and/or metallic connectors at any location in the panels. If a panel manufacturer opts to use full-thickness concrete or metallic connections, consideration must be given to their effects on the panels and surrounding materials in the project. These negative effects can include concrete panel cracking and bowing induced by the constraint of the fascia (thinner) wythe relative to the structural wythe.  Also, full-thickness concrete sections will allow condensation or frost to form at the breaks in the insulation system, resulting in heating and cooling loss, moisture migration, inconsistent face appearance, coating failures on painted panels, and growth of mold and mildew.

In addition to the construction of the panel, attention must be paid to the incorporation of the panels along with the other building elements to maintain the continuity of the envelope.  Freezer facilities require the continuation of both the insulation and vapor envelopes across critical locations such as the roof/wall juncture, floor/wall juncture and across adjacent panels.

See ICC-ESR 1746 for design information for the Thermomass Building Insulation System.

  - FABRICATION (PRODUCT INSTALLATION)

- Sandwich Panels: (With and without vapor retarder)

- Install vapor retarder over the entire area of the panel as soon as possible after leveling the first (exterior) concrete wythe.  Extend the vapor retarder vertically up the sides of the forming system securing it to the top of the forming system after the sheet has been stretched to the corners of the formwork.

- The designed insulation thickness may be comprised of multiple insulation sheets.  Place the insulation into the forms by handling the desired thickness as one sheet by inserting connectors in the corner holes.  Insulation sheets should fit tightly together to provide additional stretch to the vapor retarder.

- Prior to inserting each connector, the vapor retarder should be perforated with a sharp rod through the pre-formed holes in the insulation to provide a path for the connectors to penetrate the vapor retarder.

- Insert the fiber-composite, sandwich panel connectors through the holes immediately after placing the insulation on the plastic concrete. Twist each connector one-quarter turn.

- Ensure that concrete does not reach initial set before installation of the insulation and connectors. Do not disturb the lower wythe concrete or the insulation layer after the lower wythe concrete has reached initial set or before the lower wythe concrete has hardened.

- Consolidate plastic concrete around the embedded ends of the connectors using one or more of the following methods to ensure complete consolidation around the connector ends:

- For insulation thicknesses less than 3 inches, provide careful walking foot pressure applied to top of insulation around each connector to develop fluid concrete pumping pressure.

- For insulation thicknesses 3 inches or greater provide mechanical vibration applied to each connector.

- Ensure that the concrete in the first layer is fully consolidated around each connector prior to placing the upper layers of concrete.

- Careful walking foot pressure applied to top of insulation around each connector to develop fluid concrete pumping pressure.

- Vibrating forms.

- Mechanical vibration applied to each connector.

- Prior to placing the upper concrete layer, inject all exposed joints, gaps and spaces with expandable polyurethane foam insulation.  This will eliminate the movement of concrete into these voids that would result in thermal bridges and cold or warm spots.

- Maintain a maximum temperature of 165 °F in the bottom-cast concrete.  Monitor the concrete temperature with thermal probes and adjust heat input for each panel configuration.

- Ensure that the concrete in the first layer is fully consolidated around each connector prior to placing the upper layer of concrete.

- In plants casting panels not under roof, protect panels from exposure to rain before the first layer of concrete reaches final set.

The Thermomass Building Insulation System is designed to cover the entire area of all wall panels. Thermomass does not recommend that any full-wall thickness concrete sections be used.  It is essential that plant personnel are made aware of the requirements for the system and that the installation complies with these requirements.

SAFETY CAUTION - Since fiberglass fibers may be present on the surfaces of the Thermomass connectors, it is recommended that gloves be worn during handling and that eye contact with gloves or hands be avoided.

3.03 	FIELD QUALITY CONTROL

A.   Ensure that concrete does not reach initial set before installation of the insulation and connectors. Do not disturb the lower wythe concrete or the insulation layer after the lower wythe concrete has reached initial set or before the lower wythe concrete has hardened.

As the concrete hydration process progresses, the concrete will begin to stiffen.  Vibrating or disturbing the connectors during this period may reduce the anchorage strength of the connectors.  It is important to place concrete for the upper layer as soon as possible following installation of the insulation layer or after the initial concrete layer has hardened.

Rain may damage the exposed surface of the concrete and/or cause the insulation boards to float and pull the connectors out of the plastic concrete.  Panels should be covered in the event that rain is expected.  In the event water collects in the forms, holes may be drilled in the formwork at the level of the bottom side of the insulation to allow the water to drain

Section 03 10 00 must make reference to ASTM C 309 for release agent requirements.  Improper selection or use of an agent may allow the lower wythe to bond with the concrete floor slab or casting surface below, resulting in the lower wythe delaminating during the panel lift.  Most release agents should be applied at least 24 hours before the concrete is placed.  Ensure that the agent is compatible with the specified coatings to be applied to the concrete floors and wall panel surfaces.  Contact Thermomass for full installation instructions.

3.04 	DELIVERY, STORAGE, AND HANDLING

- Preparation

- Clean all panel edges free of concrete slurry that may bridge thermal energy across the insulation.

- Prior to shipping the panels, roll or fold all vapor retarders to the edges of the panels or onto the exterior panel surfaces, and tape to secure during transportation.

The specifier should consult the PCI Design Manual as well as the supplying wall panel producer to determine the effective specifications for this section. The types of precast elements, transportation requirements and construction conditions should be considered.

  - ERECTION

- Preparation

- Prior to erecting the panels, remove all tape securing the vapor retarder to panel edges and reapply to exterior panel surface.

- Panel to Panel Joints:

      - Once panels are erected in their final locations, remove tape securing the vapor retarders along the panel joints.

      - Beginning at the top of panel joint, fasten adjacent vapor retarders together with tape, sealant or heat working from top to bottom.

      - Again, starting at the top of the panel, roll adjacent vapor retarders over onto themselves until the roll meets the surface of the panels over the full height.

      - Carefully press the vapor retarder roll into the joint with a blunt paddle to a depth equivalent to the thickness of the exterior wythe of concrete.

      - From the interior of the building, inject an expandable polyurethane insulation, filling the joints from the vapor retarder roll inward to a depth allowing for a backer rod and caulk.

      - Complete joint construction by placing a foam backer rod and approved caulking on both the interior and exterior of each panel joint.

- Panel to Roof Joints:

- Once panels are erected in their final locations and the roofing system has been installed, remove the tape securing the vapor retarders along the top edge of the panels.

- Inject sufficient expandable polyurethane insulation to fill the construction joint between the wall insulation and the roof insulation.

- Lay the panel vapor retarder over the roof insulation and underneath the roof membrane with a minimum overlap of 18 inches.

- Panel to Footing Joints:

- Once panels are erected to their final locations remove tape securing the vapor retarder along the base of the panels.

- Beginning at one edge of a panel, extend and lap the floor and panel vapor retarders outward below the panel and fasten the vapor retarders together with tape, sealant or heat.

- Roll the vapor retarders over onto themselves until the roll meets the surface of the panels.

- Carefully press the vapor roll into the joint with a blunt paddle to a depth equivalent to the thickness of the exterior wythe of concrete.

- From the interior of the building, inject an expandable polyurethane insulation, filling the joints from the vapor roll position inward to a depth allowing for a backer rod and caulk.

- Finalize joint construction by placing a foam backer rod and approved caulking on both the interior and exterior of each panel joint.

### END

Thermomass believes the information and recommendations herein to be accurate and reliable.  However, since use conditions are not within its control, Thermomass does not guarantee results from use of such products or other information herein and disclaims all liability for any resulting damage or loss. Thermomass is not responsible for the problems or damages caused by deficiencies in building design, failure during construction to install its products in accordance with approved methods, or the use of products in its system that do not allow for proper management of moisture within the wall system.  No warranty, expressed or implied, is given as to the merchantability, fitness for particular purposes, or otherwise with respect to the product referred to.  The information presented is based on the most recent, appropriate, industry standards and methods.  All information must be confirmed by the qualified designers, specifier, suppliers and contractors retained by the owner.